## العرض الفني
Specification | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  | OFFER PAGE NO | CATALOUGE PAGE NO
1. General Specifications:
· Device Type: Digital ECG Holter Monitor, Recorder #:15.
·Channels: Minimum 5 channels, preferably 12-lead ECG recording
·Recording Duration: At least 24 hours, with options for 48, 72 hours, or more, preferd more
· Recording Method: Continuous digital recording with high-resolution sampling
· Certificl: CE orFDA
2. ECG Signal Specifications:
· Sampling Rate: Minimum 250 samples per second per channel (preferably higher for better signal quality)
· Pacemaker Detection: Yes, with automatic identification and filtering
3. Storage & Data Management:
· Memory Type: Solid-state memory (SD card or internal flash memory)
· Data Transfer: USB, Bluetooth, or wireless connectivity for fast data download
4. Display & User Interface:
· Screen: Color LCD or OLED display (if applicable) for real-time ECG preview
· User Controls: Simple interface with minimal buttons for easy operation
· Patient Event Marker: Manual and automatic event marking capability
5. Battery & Power:
· Battery Type: Rechargeable lithium-ion battery or replaceable AA/AAA batteries
·Battery Life: to bementioned, > 20% move the recording time with backup battery , preferd
·Charging Method: USB or dedicated docking station
6. Electrodes & Leads:
· Lead Type: Standard disposable or reusable electrodes
· Lead Connection: Secure snap or clip-on lead system
· Cable Length: At least 80 cm for patient comfort
7. Software & Analysis Features:two licence fow 2 workstation
· Software Compatibility: Windows-based or web-based analysis software
· Automated Analysis: Arrhythmia detection, HRV (Heart Rate Variability), ST-segment analysis
· Report Generation: Customizable reports with PDF export option
8. Accessories & Additional Features:
· Included Accessories: ECG leads, disposable electrodes, battery, software, USB cable
·Optional Features: Wireless connectivity.