| No. | Technical Specifications | Min KAUH Requirement |
| --- | --- | --- |
| 1. | Manufacturer | Please specify manufacturer and country of origin |
| 2. | Model Number | Please specify model number of the offered equipment |
| 3. | Safety standard | FDA approval or CE marking |
| 4. | Wave length | 308 nm |
| 5. | Type | - Monochromatic UVB light |
| 6. | Area of Treatment (Spot size) | To be mentioned |
| 7. | Mobility | Hand -Held |
| 8. | Accessories | - Carrying Case - Pairs of protective goggles - Any other additional accessories |