Electrotherapy with Vacuum Therapy Unit

## 1. Electrical Stimulation Modes

TENS (Transcutaneous Electrical Nerve Stimulation) for pain relief.

EMS (Electrical Muscle Stimulation) for muscle strengthening and rehabilitation.

Interferential & Medium Frequency currents for deep tissue therapy.

Micro current stimulation for cellular repair and blood circulation.

Adjustable frequency, pulse width, and intensity.

## 2. Vacuum Therapy (Suction)

Vacuum cups of multiple sizes for different body areas.

Adjustable suction pressure

Operation modes: Continuous / Pulsed.

Automatic and manual control of suction intensity.

## 3. Channels & Outputs

4 independent channels for electrical stimulation.

Option to connect vacuum electrodes (suction cups) for combined electro-vacuum therapy.

## 4. Control & Interface

Digital control with LCD or LED display.

Pre-programmed treatment protocols + customizable programs.

Timer adjustable

Audible and visual indicators during operation.

## 5. Safety Features

Automatic shut-off at end of treatment.

Electrodes and cups made from easy-to-clean materials.

## 6. Power Supply

Input: AC 220–240V / 50–60 Hz (or 110V optional).

## 7. Physical Specifications

Tabletop design.

8.Accessories:Rubber electrodes 2.Vaccume electrodes 3.Sponge bad

9.Trolly