## العرض الفني
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Portable RO | 1- Single Phase, 50 Hz, Production Rate > 75 L/hr
2- Pre filter to remove particulates greater than 5 to 10 microns.
3- Stainless steel Pump.
4- RO Pump Power Switch is mounted on the front panel.
5- Automatic Flushing.
6- Disinfectant port.
7- Pressure Adjust regulator and gauges.
8- Inlet water sensor to monitors the quality of the inlet water.
9- Automatic softener compatible with RO System.
10- Carbon filter compatible with RO System.
11- TDS display monitor.
12- Pressure gauges for inlet pre filter, outlet pre filter, product water, and pressure pump.
13- Complete unit must be European or USA manufacture , famous And known brand name specially for dialysis applications.
14- All Unit equipment on a cart system.
15- Space efficient design for easy portability.
16- Over all Dimensions for Cabinet :Depth Less than 75 cm, Width Less than 75 cm, Height not more than 100 cm.
17- FDA registered manufacturer meets stringent medical devices requirements
water specification required | TDS : not more than 10 ppm
TH : Zero
Production Rate : > 75 L/hr
Hospital water | TDS:400 ppm
TH:100 ppm
CI: 0.4 ppm
على الشركة تعبئة هذا الكشف وبيان مدى موافقة الاجهزة المعروضة من قبلة للمواصفات المطلوبة وبيان المعلومات التي تثبت ذلك بحيث يتم وضع علامة (X) أمام المواصفة اذا كانت مطابقة للمطلوب و(XX) اذا كانت غير مطابقة وحسب الأعمدة أعلاه.
على الشركة التقدم بعرض مالي منفصل للأجهزة المطلوبة.