## مالي NEUROMUSCULAR)
No. | Our Item Description | Qty. | Unit | Vendor Name | Vendor Item Description | Unit Price | Total Price | Manufacturer | Country of Origin | Remarks | Delivery Period | Cat. No.
1 | NEUROMUSCULAR STUDIES & EMG STUDIES | 1 | each
يرجى الالتزام بالملاحظات التالية : 1- ضرورة تفريغ عرض الاسعار حسب الكشف اعلاه والمخزن على FLOPPY DISK محفوظة على EXCEL SHEET. على ان لا يتم ادخال المادة المناقص بها على اكثر من سطر واحد. 2- عدم عمل دمج بين الخانات/ الخلايا (Merge) او حذف اي عمود موجود
5- في حال وجود Bonus او F.O.C يضاف في صف جديد New Row والسعر يكتب صفر (000). 6- الاسعار تكتب رقماً في التفريغ وليس كتابة. 7- يمكن اجراء تعديل على الكمية. 8- في حال وجود اي استفسار يرجى الاتصال على الهاتف المباشر لقسم العطاءات المركزية : (7200646) أو هات

## الفني Electroencepahlograp (2)
NEUROMUSCULAR STUDIES & EMG STUDIES
NAME | Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
NEUROMUSCULAR STUDIES & EMG STUDIES | Motor Nerve Conduction (MNC)
Sensory Nerve Conduction (SNC)
Combined MNC & SNC Studies
Multi-channel EMG & NCS (10 channels)
Botox EMG monitoring
F-waves
Blink Reflex
High Frequency Repetitive Stimulation
Low Frequency Repetitive Stimulation
Sympathetic Skin Response (SSR)
Inching Collision Studies
Free running EMG Triggered EMG Superimposed EMG
EMG Live Play (up to 10 channels) EMG Long Trace
Spike-triggered averaging Rectified EMG
Hardware | Impedance check
Deluxe Stimulator
Footswitch
LCD monitor with two flat panel display
QUANTITATIVE EMG PACKAGE | Multi-MUP Analysis Interference pattern Analysis (IP)
Expert’s Quantitative IP (Equip)
SINGLE FIBER EMG PACKAGE | Triggered Single Fiber EMG
Stimulated Single Fiber EMG Fiber Density
Macro EMG
EVOKED POTENTIALS | Somatosensory (SEP)
Auditory – Brainstem Auditory Evoked Responses (BAER)
Visual Flash Evoked Potentials (VEP); Pattern VEP
Additional Features | Microsoft Windows Microsoft Office Professional
Compensated Reference Values (age, height, temperature, distance)
NicVue & V-Link option Synergy Server software option Test Configuration Wizard

## مالي
No. | Our Item Description | Qty. | Unit | Vendor Name | Vendor Item Description | Unit Price | Total Price | Manufacturer | Country of Origin | Remarks | Delivery Period | Cat. No.
1 | (Double Door) غسالة سعة 120كغم | 3 | Each
2 | Feeder, Folder & Ironing Machine | 1 | Each
3 | نشافه سعتها 60كغم | 1 | Each
يرجى الالتزام بالملاحظات التالية : 1- ضرورة تفريغ عرض الاسعار حسب الكشف اعلاه والمخزن على CD محفوظة على EXCEL SHEET. على ان لا يتم ادخال المادة المناقص بها على اكثر من سطر واحد. 2- عدم عمل دمج بين الخانات/ الخلايا (Merge) او حذف اي عمود موجود في Excel Sheet . 3- يمكن اضافة صف جديد Insert New Row للمواد البديلة، وفي حال تقديم بدائل للمواد تعطى نفس الرقم المتسلسل المعطى للمادة الاصلية . 4- عدم تغيير الوحدة Unit الاصلية، وفي حال وجود وحدة تختلف عن الموجود في الجدول تكتب الوحدة لديكم في مواصفة المادة نفسها. (Vendor Item Description)
5- في حال وجود Bonus او F.O.C يضاف في صف جديد New Row والسعر يكتب صفر (000). 6- الاسعار تكتب رقماً في التفريغ وليس كتابة. 7- يمكن اجراء تعديل على الكمية. 8- في حال وجود اي استفسار يرجى الاتصال على الهاتف المباشر لقسم العطاءات المركزية : (7200646) أو هاتف المستشفى (7200600) فرعي (45059) او (42083) 9- يمكن الاطلاع على صفحة الاعلانات في موقع المسشتفى على العنوان التالي: http://www.kauh.jo ، علماً بأن البريد الالكتروني لقسم العطاءات المركزية tenders@kauh.jo وفي حال عدم الاخذ بالملاحظات الواردة اعلاه لن ينظر في العرض ويعتبر غير مطابق للمطلوب ويستبعد من الدراسة .

## فني
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Washer Machine Qty.1 | 3- Phase, 380 V, 50 Hz
Automatic Washer Extractor
( Double Door Front & Back Side )
Microprocessor Controller
Multi Functions
Material : Stainless Steel 304 ( Drum, Tube & Cabinet )
Standard Liquid Soap Connection
Cold & Hot Water Connections
Direct Steam Heated
Safety Door Locking System
Emergency Stop
Capacity : 40-60 Kgs
Washing Speed : > 30 rpm
Spin Speed : 350 - 700 rpm
Steam Pressure : 4 – 6 bar
Comp. Air : 4 – 6 bar
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Washer Machine Qty.4 | 3- Phase, 380 V, 50 Hz
Automatic Single Door Front Side Washing machine
Microprocessor Controller
Multi Functions
Material : Stainless Steel 304 ( Drum, Tube & Cabinet )
Standard Liquid Soap Connection
Cold & Hot Water Connections
Direct Steam Heated
Safety Door Locking System
Emergency Stop
Capacity : 100-120 Kgs
Washing Speed : > 30 rpm
Spin Speed : 350 - 700 rpm
Steam Pressure : 4 – 6 bar
Comp. Air : 4 – 6 bar
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Dryer Machine Qty.2 | 3- Phase , 380 V, 50 Hz
Capacity : > 60 kgs
Steam Heated
Stainless Steel Drum
Front Door Loading
Reverse System
Steam Pressure : 4 – 6 bar
Air Pressure : 4 – 6 bar
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Stainless Steel Lint Collector Qty.1 | Compatible with Capacity 6 drayers Machine
Total Capacity for all Dryers 360-400 kgs/Hour
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Press Machine Qty.1 | 3- Phase , 380 V, 50 Hz
Air operated press utility shape
Over all dimension 1400*1150*1400mm
steam inlet & return outlet 1/2 inch
Air inlet 3/8 inch
steam working pressure 5 bar
Air working pressure 7 bar
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Ironing &Folder Machine Qty.1 | 3- Phase ,380 V, 50 Hz
Ironing Width : not less than 3000 mm
Ironing Speed : 4 – 36 m/min
Heating Type : Steam
No. of Rolls : 1
Steam Pressure : 6 – 10 bar
Pulse folding with up to two primary folds and three cross folds
Digital Temp. display and steam pressure gauge monitor heating system
Dependable Rotary steam union
Admits steam and discharges condensate
Folding Width : 3000 mm
Fully automatic
Multi Function
LCD Screen Display
Emergency Stop
Infrared Ray to detected and count
Anti static device
على الشركة تعبئة هذا الكشف وبيان مدى موافقة الاجهزة المعروضة من قبلة للمواصفات المطلوبة وبيان المعلومات التي تثبت ذلك بحيث يتم وضع علامة (X) أمام المواصفة اذا كانت مطابقة للمطلوب و(XX) اذا كانت غير مطابقة وحسب الأعمدة أعلاه.
على الشركة التقدم بعرض مالي منفصل للأجهزة المطلوبة.