## العرض الفني
| Specefcation | VENDER ITEM DESCRIPTION | COMMENTS | WHERE TO FIND
|  |  |  | OFFER PAGE NO | CATALOUGE PAGE NO
Fully Automated IHC instrument | system must support IHC and ISH protocols
compateble for paraffin (dawaxed),frozen and cytology smears
system should be open for primary antibodes from any vender
must be fully automated to do deparffinization, antigen retrival and staining within the same system
run should accommodate at least 3 slides/run
should come with compatible computer and software
software should be upgraded at no extra cost to the user
IHC/ISH run time should not exceed 4 hrs
Antibody and micro reagent consomption per slide should not exeed 200ml ,micro liter including control section on same slide
heater for every slide position and slide temperature must be individually controlled
should have complete slide labeling system (barcode printer/reader)
should have flexibility of individual programming for each slide with any protocol
must have the option for manual antibody addition/titration
installation /antibody standardization should be done free of cost
على الشركة تعبئة هذا الكشف وبيان مدى موافقة الاجهزة المعروضة من قبلة للمواصفات المطلوبة وبيان المعلومات التي تثبت ذلك بحيث يتم وضع علامة (X) أمام المواصفة اذا كانت مطابقة للمطلوب و(XX) اذا كانت غير مطابقة وحسب الأعمدة أعلاه.
على الشركة التقدم بعرض مالي منفصل للأجهزة المطلوبة.