- Minimal requirements of Liquid hand hygiene products (Alcohol based Handrub)

- Evidence-based, intrinsic advantages of fast-acting and broad-spectrum microbicidal activity with a minimal risk of generating resistance to antimicrobial agents

- Capacity to promote improved compliance with hand hygiene by making the process faster and more convenient

- Products should provide economic benefit by reducing annual costs for hand hygiene, with ready to use containers

- Minimization of risks from adverse events

- Ready products should be colorless and odorless, minimum perfume will not be a problem

- Should be readily available, through dispensers close to the point of care

- Handles to carry bottles should be provided, maintained, and if necessary replaced by the contracted company

- Products should be approved and certified by the appropriate local or international agencies (local and international certifications)

- Products should contain a certified emollient

- Instructions and protocols to use products should be available and periodic training program should be provided ahead.

- The product should be provided with elbow dispenser or with sterile pump.

- Reliable and trustable third party certification that the product successfully passed the European Norms (EN1500), (EN14476 virucidal), (EN13624 fungicidal), (EN13727 Bactericidal), or equivalent

- Minimal requirements of hand hygiene products (Liquid Medical soap)

- Evidence-based, intrinsic advantages of microbicidal activity

- Capacity to promote improved compliance with hand hygiene by making the process more convenient

- Products should provide economic benefit by reducing annual costs for hand hygiene, with ready to use containers

- Minimization of risks from adverse events

- Should be readily available, through dispensers close sink

- Handles to carry bottles should be provided, maintained, and if necessary replaced by the contracted company

- Products should be approved and certified by the appropriate local or international agencies

- The product should be provided with dispenser or with sterile pump.

- Reliable and trustable third party certification that the product successfully passed the European Norm (EN1499) or equivalent

3.+4. Minimal requirements for Surgical disinfection of hands

- Evidence-based, intrinsic advantages of fast-acting and broad-spectrum microbicidal activity with a minimal risk of generating resistance to antimicrobial agents

- Capacity to promote improved compliance with surgical scrub by making the process faster and more convenient

- Products should provide economic benefit by reducing annual costs for hand scrub, with ready to use containers

- Minimization of risks from adverse events

- Should be readily available, through dispensers close to the point of use.

- Handles to carry bottles should be provided, maintained, and if necessary replaced by the contracted company

- Products should be approved and certified by the appropriate local or international agencies

- Products should contain a certified emollient

- Instructions and protocols to use products should be available and periodic training program should be provided ahead.

- Reliable and trustable third party certification that the product successfully passed the European Norm (EN12791) or equivalent

5.+8. Minimal requirements for environmental (surfaces) cleaning and disinfectant agents ready to be used wet wipes and solutions with dry wipes.

- Products should be approved and certified by the appropriate local or international agencies

- The product should be alcohol free.

- Products should not be of high-level disinfecting properties.

- Instructions and protocols to use products should be available and periodic training program should be provided ahead.

- The product should not have a harsh odor, preferably to be odorless and did not cause respiratory irritation.

- Active ingredients should not be alcohol or chlorine or aldehyde.

- Products should provide economic benefit by reducing annual costs for disinfection, with ready to use containers.

- The product must be two in one (detergent & disinfectant).

- The product must be effective against all microorganisms it must be germicidal

- Contact time must be less than 10 minutes and preferably less than 5 minutes

- Can be used in the room while the patients are present.

- Capable of removing visible organic and inorganic residues

- Can be used in the neonatal intensive care unit

- Minimal risk from adverse events on the operators

- With sterile sprinkler

- Reliable and trustable third party certification that the product successfully passed the European Norms (EN14561, and 14563, and 13697, and 14476+A1, and 13704) or equivalents

- Minimal requirements for environmental (floors of public and high risk areas) cleaning and disinfectant agents

- Products should be approved and certified by the appropriate local or international agencies

- Instructions and protocols to use products should be available and periodic training program should be provided ahead.

- The product should have a light perfumed odor.

- Active ingredients should not be alcohol or chlorine or aldehyde.

- Products should provide economic benefit by reducing annual costs for disinfection.

- The product must be two in one (detergent & disinfectant).

- The product must be effective against all microorganisms it must be germicidal

- Can be used in the room while the patients are present.

- Capable of removing visible organic and inorganic residues

- Can be used in the neonatal intensive care unit

- Minimal risk from adverse events on the operators

- For high risk areas the product should be of moderate to high level disinfecting activity, and the contact time of less than 10 minutes

- Reliable and trustable third party certification that the product successfully passed the European Norms (EN14561, and 14563, and 13697, and 14476+A1, and 13704) or equivalents

- Cleaning and pre-disinfection of medical devices(Anionic / Non-ionic detergent containing Enzymes)

- Enzymatic solution

- Capable of removing visible organic and inorganic residues

- Can disinfect equipments without the need for cleaning